## Slide 1: Status of Compton Scattering at ATF
ATF Users Meeting
April 2012
Oliver Williams

## Slide 2: Why we like Compton Scattering
Sub-picosecond x-rays for dynamics studies
  e.g. melting and shocks
Easy tuning of energy and polarization
  Ferromagnetic materials, XMCD
Access to hard x-rays and gamma rays
  Nuclear materials, positron production
High peak brightness in small footprint

## Slide 3: Compton Experience at ATF
First observation of 2nd harmonic
Energy determined by K-edges
Single-shot phase contrast imaging
Single-shot static diffraction
BW determined by Bragg spectrometer

## Slide 4: Energy Measurement Using K-edge
Characterized x-rays via K-edge foil
ICS photons have angular-energy relation (“undulator eqn.”):

## Slide 5
72 MeV
70 MeV
68 MeV

## Slide 6
66 MeV
65 MeV
64 MeV

## Slide 7: Lobe observation angle
ΔEe=1.3 MeV => ΔEx= 290 eV
-Fit simulation curve to data by adding energy offset (~290 eV)
Energy offset could be due to absolute e-beam energy calibration or nonlinear induced red-shifting (aL>0) (more likely)

## Slide 8: Static Bragg Diffraction
X-rays pass through 1 mrad slit
Si-diode measured 6x107 photons
Nickel foil (K-edge: 8.33 keV) used to verify x-ray energy ~8.7 keV
4” Si <111> wafer
Bragg angle=13.25o
MCP detection efficiency: ~1%

## Slide 9: Single-shot diffraction
104 photons diffracted from 4” Si <111> wafer
Detection limited to ~100 photons due to MCP efficiency
New MCP ordered with 10x better detection efficiency

## Slide 10: BW determined from Bragg scan
Good agreement with simulation gives rms BW = 2.6% with central energy of 8.7 keV

## Slide 11: Nonlinear Compton
Riding on prior success of harmonic production at ATF
Same set up but more powerful laser
Will help act as benchmark for laser power

## Slide 12: 2nd Harmonic and Beyond
Need more photons!
Deserves revisit due to new laser parameters
  2006: 4 J, 30 ps
  2012: 5 J, 5 ps
  8x more power!
Using foils of various K and L edges

## Slide 13: Angular Distributions-Harmonics & Red shifting (60 MeV)
aL=1
aL=0.75
aL=0.5
Fe
No
foil

## Slide 14
Cu
Au
aL=1
aL=0.75
aL=0.5

## Slide 15: Summary
Spectral diagnostic experience will assist in studying spectrum of harmonics and fundamental in nonlinear regime
Heavy demand on CO2 laser performing optimally for 3rd and 4th harmonics
Photon limit must be pushed for dynamics
Sets stage for other provocations: 2-color (10 um AND 1 um) laser ICS???