| Inspection Team Members: |  |
| --- | --- |
| Location: | Date: |  |
| A. HOUSEKEEPING | B. WORKING ENVIRONMENT |
| 1. | ( | General housekeeping | 1. | ( | Adequacy of general ventilation in work areas |
| 2. | ( | Waste Container – design and availability | 2. | ( | Fume hoods – inspection, labeling & proper use |
| 3. | ( | Conventional waste disposal | 3. | ( | Appropriate lighting for activities in area |
| 4. | ( | Egress paths, i.e., aisles, floors, emergency exits | 4. | ( | High noise areas assessed and posted |
| 5. | ( | Sanitary conditions of eating areas and appliances | 5. | ( | Hazard Information Placards – complete and update |
| 6. | ( | Ceiling tiles in place | 6. | ( | Area free of rodents, insects and other pests |
| 7. | ( | Walking surfaces – OSHA compliance | 7. | ( | Proper storage of heavy equipment or materials |
| Comments: | 8. | ( | “EXIT” signs posted appropriately |
|  | 9. | ( | Area checklists up to date |
|  | 10 | ( | Piping Labeled |
|  | Comments: |
| C. FIRE PROTECTION | D. HAZARDOUS WASTE OPERATIONS |
| 1. | ( | Fire doors – operable, inspected and labeled | 1. | ( | Oily waste receptacles available in appropriate areas |
| 2. | ( | Emergency egress paths – clear of all obstructions | 2. | ( | Battery collection area – identified and posted |
|  |  | and combustibles | 3. | ( | 90-Day areas - Hazardous waste labels, dates, |
| 3. | ( | Fire Exting. – type, placement, cond., inspections |  |  | segregation, storage and weekly inspection log |
| 4. | ( | Sprinkler heads – unobstructed, placement | 4. | ( | Satellite areas in compliance |
| 5. | ( | Flammable materials – storage and compliance | Comments: |
| 6. | ( | Transient combustible fire loading (newspapers, |  |
|  |  | used wood, etc.) |  |
| 7. | ( | Availability and proper use of approved flammable |  |
|  |  | liquids storage cabinets | E. MACHINE SHOP/MATERIAL HANDLING SAFETY |
| 8. | ( | Emergency lighting – placement and function | 1. | ( | Posting of “Authorized Personnel” |
| 9. | ( | Fire rescue run card information accurate & saved | 2. | ( | Machine guarding-OSHA compliance |
|  |  | by end of first quarter of current calendar year | 3. | ( | Material handling equipment – operation, maintenance, |
| 10. | ( | Local Emergency Plan current and posted |  |  | and inspection – i.e. slings |
| Comments: | 4. | ( | Absence of food, drinks, etc. in hazard areas |
|  |  |  | 5. | ( | Shop inspections up to date, i.e., monthly, annually |
|  |  |  | 6. | ( | Area free of rodents, insects, and other pests. |
|  |  |  | Comments: |
| F. CHEMICAL SAFETY | G. ELECTRICAL SAFETY |
| 1. | ( | Hazardous Chemicals – labeling and storage | 1. | ( | Electric distribution panels – labeling, installation and |
| 2. | ( | Segregation of incompatible chemicals |  |  | accessibility |
| 3. | ( | Peroxide-forming chemicals – date – labeled and | 2. | ( | Emergency disconnect switches – labeling, |
|  |  | monitored |  |  | accessibility and operable |
| 4. | ( | Hazardous areas appropriately posted | 3. | ( | Electrical outlets – adequate for work area |
| 5. | ( | Work area appropriate for level of hazard. | 4. | ( | Wiring in hazardous areas – comply with NEC |
| 6. | ( | Emergency showers and eyewash stations - | 5. | ( | Electric power cords – physical condition |
|  |  | availability and function (testing/inspection current) | 6. | ( | Extension cords – used only for task-specific |
| 7. | ( | Secondary containment as required |  |  | operations; Inspect for physical condition |
| 8. | ( | CMS Inventory up to date | 7. | ( | Hand power tools grounded or double insulated |
| 9. | ( | Chemicals bar-coded | 8. | ( | GFCI protection for outlets within 6 feet of sinks or |
| 10. | ( | Absence of food, drinks, etc. in hazard areas |  |  | other wet areas |
| 11. | ( | Area free of rodents, insects, and other pests. | 9. | ( | Inspect Lockout/Tagouts for compliance |
| Comments: | 10. | ( | Cascaded cords/power strips (daisy chaining). |
|  | Comments: |
| Comments: |

| H. RADIATION SAFETY | I. COMPRESSED GAS/CRYOGEN SAFETY |
| --- | --- |
| 1. | ( | Radioactive waste – labeling, handling, storage and disposal | 1. | ( | Storage and handling of compressed gas cylinders – |
| 2. | ( | Postings legible |  |  | OSHA compliance |
| Comments: | 2. | ( | Oxidizers separated from flammables |
|  | 3. | ( | Cylinders individually secured |
|  | 4. | ( | Cylinders labeled and capped when not in use |
|  |  |  | 5. | ( | Cryogen storage and usage in compliance with SBMS requirements |
| J. UNSAFE PRACTICES | 6. | ( | Inventory less than static inventory posting |
| 1. | ( | Unsafe acts, misuse or removal of safety devices | Comments |
| 2. | ( | Running/ horseplay in work area |  |  |  |
| 3. | ( | Inappropriate operation of equipment | K. PERSONAL PROTECTIVE EQUIPMENT |
| Comments: | 1. | ( | Eye protection – availability and use |
|  |  |  | 2. | ( | Proper footwear in maintenance spaces |
|  |  |  | 3. | ( | Protective clothing in hazard areas |
|  |  |  | 4. | ( | Respirators – selection, use and maintenance |
| L. OUTSIDE AND GROUNDS | 5. | ( | Hard hats and safety shoes during hoisting and rigging operations |
| 1. | ( | Access to buildings | 6. | ( | Hearing protection available for use in high noise areas |
| 2. | ( | Conditions of stairs, ramps and walks | 7. | ( | Is the area properly posted for use of explicit PPE for location |
| 3. | ( | Modular buildings and trailers – skirts intact |  |  | specific hazards? |
| 4. | ( | Grounds free of hazardous waste and debris | 8. | ( | PPE in good condition/working order |
| 5. | ( | Cleanliness of waste bin areas | Comments: |
| 6. | ( | Inspect perimeter and surrounding areas of buildings |  |
| 7. | ( | Rooftop maintenance areas (access ladders and |  |
|  |  | walking surfaces) |  |
| 8. | ( | Building manager signs posted and information accurate |  |
| 9. | ( | Intermittent Energy Release |  |
| Comments: |  |
| M. ENVIRONMENTAL |  |  |  |
| 1. | ( | Check floor drains for evidence of release of oils, | 9. | ( | Have all air emissions from this facility been identified in F&O |
|  |  | chemicals, etc. |  |  | EMS? |
| 2. | ( | Appropriate use of Cross Connection Control Devices | 10. | ( | Are storage tanks labeled? |
|  |  | a. Primary device (i.e., RPZ or DCV) installed and | 11. | ( | Is there evidence of leakage from tanks and associated |
|  |  | tested annually at building main connection. |  |  | equipment? |
|  |  | b. No hoses hanging below the rim of sinks and/or are | 12. | ( | Are labels present and legible on oil/chemical containers/tanks? |
|  |  | faucets equipped with atmospheric vacuum breakers? | 13. | ( | Is there an adequate supply of absorbent material available |
| 3. | ( | No evidence of debris, oils/greases, chemicals in sinks. |  |  | near oil/chemical storage areas? |
|  |  | Chemicals are stored in secondary containment trays away | 14. | ( | Are PCB capacitors, transformers, or equipment a properly |
|  |  | from sinks and drains |  |  | labeled? |
| 4. | ( | Are sinks posted with the current "Sink Releasable Chemical | 15. | ( | Is there evidence of weeping or leakage from PCB capacitors, |
|  |  | List? |  |  | transformers, and/or equipment? |
| 5. | ( | Air emissions are consistent with permit conditions and, if | 16. | ( | Are there drums or containers of oil and/or chemicals on |
|  |  | applicable, emissions logs are maintained and up-to-date |  |  | loading platforms or outdoors? |
| 6. | ( | Air emissions control equipment is maintained in |  |  |  |
|  |  | accordance with good management practices |  |  |  |
| 7. | ( | Is the air emission source included under the Title V Permit |  |  |  |
|  |  | or is it exempt? |  |  |  |
| 8. | ( | Have all air emissions from this facility been properly |  |  |  |
|  |  | evaluated per SBMS Non Radioactive Airborne Emissions |  |  |  |
|  |  | Subject Area? |  |  |  |
| Comments: |