| Waste Description | Type of Project | Pounds Reduced, Reused, Recycled or Conserved in 2012 | Waste Type | Potential Costs for Treatment and Disposal | Cost of Recycle, Prevention | Estimated Cost Savings | Project Description Details * |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Replacement of small PCB capacitors | Substitution | N/A | PCB | $4,000 | $4,000 | $0 | Collider Accelerator removed and replaced 50 small PCB-containing capacitors and removed an additional 25 PCB-containing capacitors from obsolete equipment. |
| Once-thru cooling | Water Conservation | 7,188,480 | Water | $0 | $4,000 | $0 | Replaced a once-thru cooling system with a closed loop system supplied by BNL's Chilled Water Plant. |
| Replacement of x-ray film processing with chemiluminicent imaging | Substitution | 835 | Hazardous and Industrial Liquid Wastes | $27,000 | $5,500 | $179,000 | Cost savings reflect labor savings, waste disposal savings, and items (such as film) which no longer need to be purchased. |
| Motion sensors in Building 725 | Energy Conservation | N/A | Greenhouse Gas/Energy Conservation | N/A | $0 | $6,000 | Installation of motion-sensor lighting in hallways, restrooms, and conference rooms in Building 725 during 2011. |
| LED lighting in 490 Conference Room | Energy Conservation | N/A | Greenhouse Gas/Energy Conservation/ Manpower | $2,940 | $0 | $3,710 | (40) 65-Watt incandescent bulbs were replaced with LED bulbs during 2011; savings of $1190/year in energy costs and $2520/year in manpower costs. |
| Plastic granulator for Medical Department | Recycling | N/A | Regulated Medical Waste | $5,500 | $0 | $5,500 | Plastic granulator shreds Laboratory plastic ware (petri dishes, flacks, etc.) rendering it unrecognizable. |
| Motion sensors for Building 820 | Energy Conservation | N/A | Greenhouse Gas/Energy Conservation | N/A | $0 | $1,650 | Installation of motion-sensor lighting in Physics research area of Building 820. |
| Sewage sludge | Publicly-Owned Treatment Works (POTW) | 3,000 | Low-Level Radiological Waste | $500,000 | $12,000 | $488,000 | Rad constituents were eliminated from within the Sewage Treatment Facility and the sludge is now sent to a POTW. |
| Alkaline batteries | Recycling | 174 | Industrial Waste | $10 | $0 | $10 | 150 pounds of alkaline batteries were collected and sent for recycling. |
| Bio Diesel tank, E-85, CNG | Alternative Fuels | 0 | Greenhouse Gas/Energy Conservation | $0 | $0 | $0 | BNL is utilizing different alternative fuels to operate maintenance vehicles. |
| Motion sensors for on-site labs* | Energy Conservation | N/A | Greenhouse Gas/Energy Conservation | N/A | $0 | $5,817 | Installation of motion detector lighting in common areas of Buildings 490 and 463. |
| “Bio Circle Cleaner” parts washer | Substitution | 640 | Hazardous Waste | $10,000 | $0 | $10,000 | Eliminates the need for toxic solvents, chemical storage, and disposal associated with the cleaning of vacuum parts. |
| Aerosol can disposal system | Recycling | 528 | Hazardous Waste | $43,872 | $0 | $43,872 | Empty aerosol cans are recycled as scrap, rather then sent to the Waste Management Division as hazardous waste. Eight units (F&O=5; CA=1; NSLS=1; BES =1) each handle 66 lbs of hazardous waste. |
| Electronic reuse | Reuse | 23,287 | E-Waste | $58,218 | $0 | $58,218 | BNL tracks electronic equipment and takes a reuse credit for transfer of equipment to another user. |
| Building demolition recycling | Recycling | 11,000,000 | Industrial Waste | $484,935 | $25,000 | $459,935 | On-site demolition products (steel and concrete) are segregated, recycled, and reused. |
| System One parts cleaner | Substitution | 1,280 | Hazardous Waste | $12,000 | $0 | $12,000 | Central Fabrications and Motor Pool each purchased a System One parts washer to re-distill dirty solvent, eliminating the need for a vendor, such as Safety Kleen. Removed grit and sludge are mixed with the waste oil. |
| Animal bedding conveying system | Composting | 74,000 | Low-level Radiological Waste | $898,128 | $0 | $898,128 | Animal bedding material is no longer sent to sanitary sewer. It is now conveyed to a dumpster that is emptied and composted at the stump dump. The sanitary sludge was previously sent out as low-level radioactive waste. |
| Lead acid batteries | Recycled | 4,000 | Universal Waste | $29,248 | $0 | $29,248 | Avoids hazardous waste disposal costs for approximately 40 lbs of lead per battery. |
| Short half-life waste - CA | Decay in Storage | 142 | Radioactive Waste | $56,232 | $0 | $56,232 | During 2012, 21 boxes of filters from Buildings 914 and 918 (147 ft3) were managed in accordance with BNL decay-in-storage requirements, rendering the wastes eligible for volumetric release. |
| Cooling Tower chemicals | Source Reduction | 6,000 | Industrial Waste | $12,000 | $0 | $12,000 | Ozone water treatment units were installed on cooling towers at the National Space Radiation Laboratory (957), the Special Ejection Magnet (912A) and the Relativistic Heavy Ion Collider Research Facility (1004) for biological control of cooling water. These systems eliminate the need for water treatment chemicals (typically toxic biocides), save labor, and reduce analytical costs for monitoring cooling tower blow down. |
| Blasocut machining coolant | Recycled/ Reused | 44,880 | Industrial waste | $110,530 | $0 | $120,130 | Central Shops Division operates a recycling system that reclaims Blasocut machining coolant and supplies it Laboratory-wide. In 2012, 5,610gal (44,580 lb) of Blasocut lubricant were recycled. Recycling involves aeration, centrifuge, and filtration. This avoids cost of disposal as industrial waste and an avoided cost of buying 12 drums of concentrate ($800/drum) and 113 empty drums for shipping ($50/drum). |
| Fluorescent bulbs | Recycled | 15,727 | Universal Waste | $802,077 | $20,000 | $782,077 | Fluorescent bulbs are collected and sent to a recycling facility under the Universal Waste exemption rule. |
| Tyvek | Recycled | 105 | Industrial Waste | $6 | $0 | $11 | BNL is recycling tyvek through Garment Recovery Systems. |
| Used motor oil | Energy Recovery | 12,680 | Industrial Waste | $31,651 | $0 | $31,651 | Used motor oil from the Motor Pool and the on-site gas station is given to Strebel's Laundry Service to fire their boilers. In 2012, they collected 1,585 gallons of oil at no charge to BNL, which avoided the costs for disposal and 31 shipping drums ($50/drum). |
| Office paper | Recycled | 284,120 | Industrial Waste | $14,916 | $0 | $20,599 | Cost avoidance based on $105/ton for disposal as trash, plus $40/ton revenue. |
| Cardboard | Recycled | 200,600 | Industrial Waste | $10,532 | $0 | $13,039 | Cost avoidance based on $1055/ton for disposal as trash, plus $25/ton revenue. |
| Electronic waste | Recycled | 61,840 | Industrial/ Universal Waste | $154,600 | $0 | $181,795 | Cost avoidance based on $105/ton for disposal as trash, plus $900/ton revenue. |
| Metals | Recycled | 555,900 | Industrial waste | $29,185 | $0 | $273,650 | Cost avoidance based on $105/ton for disposal as trash, plus $900/ton revenue. |
| Bottles/cans | Recycled | 36,040 | Industrial Waste | $1,892 | $0 | $1,892 | Cost avoidance based on $105/ton for disposal as trash. |
| Construction debris | Recycled | 760,580 | Industrial Waste | $39,930 | $0 | $19,775 | Cost avoidance based on $52/ton difference for disposal as trash. |
|  | TOTALS | 13,082,523 |  | $2,799,962 | $45,000 | $3,030,079 |  |
| * Cost savings of projects funded by the BNL Pollution Prevention Council will be tracked for 3 years. |