Phobos

Detector and Infrastructure Installation Schedule

One year and counting...

November 1998

•	Magnet delivered to AGS to be assembled, wired with sensors and tested briefly.

•	Si module support structures (octagon, 1 spectrometer arm, and 1 ring counter) arrive at UIC and MIT.

•	Detector rail system assembly starts at MIT.

•	Counting house and its utilities complete.

•	Water-cooled bus installation.

December 1998

•	Magnet installed and hooked up at RHIC.

•	Cooling water system and power supply complete.

•	Setup for magnet mapping begins.

•	Detector rail assembly at MIT completed.

•	Cable tray in ports and outside berm complete.

•	Electronics room racks installed and floor/wall cable penetrations finished.

January 1999

•	Magnet mapping completed.

•	Concrete block installation.

•	Module support structures arrive at BNL.

•	Si module delivery to BNL begins.

•	Test and certify personnel safety (interlock) system.

•	Octagon/vertex module assembly complete.

•	Dirty power in tunnel complete.

•	Clean power distribution in counting house complete.

Note ODH hazard training required!

February 1999

•	Install barrier fences and cranes

•	Cable tray system inside tunnel completed.

•	Beam pipe protection system installed.

•	Clean power distribution along beam line completed.

•	Study installation of octagon and spectrometer rail systems.

•	Detector water cooling system arrives at BNL.

•	Thermal shields delivered and installed on magnet pole tips.

•	Detector enclosure mechanical structures installed.

•	Install dummy beam pipe.

•	Install shield wall outside main entrance.

•	Fabrication of tooling for mounting modules on cooling frames.

•	Design of tooling for mounting cooling frames on plate and transporting assembled plate.

•	Counting house trigger electronics installed and cabled.

•	High-eta trigger counters possibly installed.

March 1999

•	Tunnel area closed for machine work.

•	Spectrometer arm assembly and surveying procedures tested.

•	Staging area (small tent) installed in utility building.

•	DAQ fully installed in counting house.

•	Full electronics system moved to BNL.

•	Final test of SiÆFECÆDMUÆDAQ in counting house.

•	Tunnel trigger electronics installed in counting house and cabled.

•	Full trigger chain established through spooled cables.

•	Testing of trigger electronics, including DAQ communication.

•	Remaining parts for cooling system delivered (with exception of thermal shield manifolding).

•	Testing of slow controls system in counting house.

•	Be beam pipe arrives at BNL.

April 1999

•	Bake-out of dummy beam pipe(?).

•	Second specrometer arm and remaining ring counters delivered to BNL.

•	Installation of slow controls system in tunnel.

•	Full rail, support structure, cooling system, and detector enclosure installation (first without Si).

•	Mount and align ring counter stands.

•	Final mount and alignment of octagon rail system on concrete blocks.

•	Installation and adjustment of octagon module support structure.

•	Mount manifolding and plumbing of water cooling system.

•	Final mount and alignment of spectrometer rail systems on concrete blocks.

•	Installation of spectrometer arm supports (fixed and sliding).

•	Installation and alignment of spectrometer arm.

•	Connection and commissioning of water cooling system for octagon and spectrometer.

•	Begin installation of trigger detectors and trigger cable pulling.

•	Trigger electronics moved to tunnel.

•	Begin installation of TOF and TOF cable pulling.

•	Installation of DMU system and connection to DAQ.

May 1999

•	Final checks of flex cable routing.

•	Installation of thermal shield manifolding.

•	Reinstallation of the removable parts of the detector enclosure.

•	Commissioning of detector enclosure air conditioning and distribution system.

•	Connection and testing of the detector enclosure air conditioning and distribution system.

•	Installation of Si electronics power supplies and FEC crates.

•	Connection of Si electronics to DMU.

•	Removal of spectrometer arms and octagon module support structure.

•	Mounting of a few Si modules on octagon structure.

•	Reinstallation of octagon module support structure into magnet.

•	Connection of octagon Si hybrids to FEC boards.

•	Full test of installed Si readout system through DAQ.

•	Fabrication of tooling for mounting cooling frames on plate and transporting assembled plate.

June - July 1999

•	Area closed for accelerator commissioning.  Some (sacrificial?) Si modules left in octagon.

•	Spectrometer module assembly for one arm complete.

•	Spectrometer arm assembly and survey with full Si modules exercised.

August 1999

•	Remove octagon module support structure.

•	Remove any trigger counters.

•	Remove dummy beam pipe.

•	Install Be beam pipe.

•	Bake out and vacuum test Be beam pipe.

•	Mount all Si modules on octagon structure.

•	Install full set of trigger counters.

•	Installation of ring counters.

•	Installation and hookup of ring counter FEC crates.

•	Complete trigger and TOF cable pulling.

•	Complete any remaining tunnel work.

September 1999

•	Final installation of fully loaded octagon and spectrometer arm(s).

•	Installation of ring counter enclosures.

•	Final commissioning of water and air cooling systems.

October 1999

•	Final tests of full detector systems.

November 1999

ﬁ  PHYSICS!!!  ‹